ISO/CWA Analysis Mapping Question Sets

- What are the policies that govern biorisk management at the institute? (5.2)

  - Gather any documents or links or connections to biosafety/biosecurity specific policies. If no specific or separate biosafety/biosecurity policy, then perhaps the policy is embedded in or describe in general EHS policies.

  - Policies

  - Evidence (supporting documents, links, connections, etc.)

- What are the boundaries, scope, applicability of the BRM system (may be part of the policy, part of the IBC charter, etc.)? (4.1, 4.2, 4.3)

- Gather or note where this is documented.

- Context/Boundaries/Scope

- Interested Parties (external and internal)

- Evidence (supporting documents, links, connections, etc.)

- How is the BRM system are established, documented, implemented, communicated, maintained, and continually improved?  (4.4)

- Established

- Documented

- Implemented

- Communicated

- Maintained

- Continually Improved

- What are all the ways that the institute does risk assessments (both biosafety and biosecurity)?

- Gather any policies, documents, SOPs, written descriptions, etc.

- Include a summary of the timing and scope of the various risk assessment processes: when are they done, how often, who, and the scope. (6.1, 6.2)

- Risk Assessment Policies/Processes

- Timing and Scope (When, How, Who)

- How are hazards identified, documented, mitigated/addressed, and effectiveness of controls? (6.1.1.)

- Hazard Identifications and Documentation (6.1.2)

- Hazard mitigation (6.1.3)

- Evaluations of effectiveness of controls (6.1.4)

- Define, outline, provide references and documentation, etc. the roles and responsibilities related to Biorisk Management at The institute for the following tiers:

- Top Management

- Senior Management

- Institutional Biosafety Committee members and Chair

- Biosafety Officers (Biorisk Management Advisors) including EHS coordinators and other safety advisors.

- Principal Investigators (Scientific Management)

- What are the biorisk management objectives at SNL? (Think similar to the ESHIP, EMS objectives)

- How is it:

  - Related to biorisk management policy;

  - measured;

  - take into account applicable requirements;

  - monitored;

  - communicated;

  - updated as appropriate.

- How are biorisk management objectives documented and carried out (planning)?

- Define, outline, provide references and documentation, etc. that related to the The institute Medical program in regard to biosafety/biorisk and the vaccination program. (Who, what, how, when)

- Define, outline, provide references and documentation, etc. how MOWs are deemed competent before they start performing ALW.

  - Items to consider:

    - How do we determine what type of training MOWs should receive?

    - Is there OJT?

    - How is it determined that they are competent to perform a certain task?

    - How do we prevent non-competent workers from performing tasks that they shouldn’t be?

    - How do we review/reevaluate tasks performed by MOWs?

    - How is it determined that MOWs duty and adequately qualified and trustworthy to execute their job responsibilities?

- How are MOWs aware of the:

  - the biorisk management policy;

  - updates to the biorisk management plan;

  - the outcomes of investigations of relevant incidents and accidents;

  - the effectiveness of the biorisk management system,

  - the implications of not conforming with the biorisk management system requirements;

  - the legal requirements that govern biorisk management.

- How does The institute identified, established, and maintained training?

  - Consider:

    - How do we identify of biorisk training needs?

    - What the requirements for biorisk training in relation to the biorisk management plans?

    - How is effectiveness of biorisk training determined?

    - What is the frequency of refresher biorisk training?

    - How do we assess to ensure that workers are competent to perform assigned tasks?

    - How are biorisk training records maintained?

- Define, outline, provide references and documentation, etc. that related to the The institute Medical program in regard to biosafety/biorisk and the vaccination program. (Who, what, how, when)

- How are documents

  - Created and updated?

  - Controlled?

    - Distribution

    - Storage

    - Control of changes

    - Retention and disposition

  - Secured?

    - Are there review processes?

- How are visitors, suppliers, and other non-employee personnel made aware/communicated biorisk policies and procedures

- How are employees made aware of priority threats and vulnerabilities from biorisk assessment?

- Are acquisition of products and services from suppliers are evaluated to ensure conformance to specified requirements depending on their potential impact on the biorisk management system?

- How do we track incidents, nonconformity and corrective actions?

- What’s the process?

  - Is there another processes besides the standard fact finding and RCAs?

- How is it documented? (Occurrence Reporting…anything else unique?)

- How do we track corrective actions? (SAGE…anything else unique?)

- How do we strive for continual improvement? Are there any processes or initiatives? How do we promote continual improvement?

- What policies, processes. and procedures ensure that facilities, equipment, and processes are designed, operated, and maintained in a safe and secure way with respect to biorisk management?

- Think about:

  - New or modifications to lab spaces

  - How are requirements of the lab designed communicated to facilities/construction team?

  - How do we approve overall plans?

  - How do we validate that everything went according to plan?

- What is the documentation on commissioning and decommissioning of lab spaces?

- What procedures are in place to ensure maintenance, control, calibration, certification, and validation of equipment?

- How are the following performed on equipment?

  - maintenance,

  - control,

  - calibration,

  - certification, and

  - validation?

- How and where are the records kept?

- What are the ways that we control the physical security of biological materials?

- What are the procedures for maintenance of these systems?

- What are the methods of an maintaining accurate, verifiable, and up-to-date inventory, or itemized record, of biological materials with biological agents and toxins?

- What systems is being used?

- What is the frequency of reviewing inventory?

- How are workers trained on good microbiological technique?

- What methods are used to be trained? Consider:

  - centrifugation;

  - control of needles and sharps;

  - correct use of vacuum pumps;

  - culture, purification and storage techniques;

  - minimization / containment of aerosols;

  - pipetting;

  - sonication and other mechanical forms of cell / tissue disruption;

  - use of biological safety cabinets;

  - use of disinfectants, including spill control, routine decontamination, hand washing and showering; and

  - properly manage biowaste generated

- What are the methods to determine the proper PPE to wear?

- How are PPE maintained?

- What are the frequencies of cleaning and decontamination of applicable PPE?

- Are there any training for PPE trainings for MOWs?

- What are the methods of disposing and decontaminating waste?

- What are those waste streams?

- What are the methods of decontamination? How do we validate if items have been decontaminated? What are those procedures?

- What are emergency response and contingency plans?

- How does it incorporate:

  - Emergency scenarios

  - Emergency plan training

  - Emergency exercises and drills

  - Contingency plans

- What are the procedures for transporting biological materials?

- Consider:

  - Between labs

  - Receiving biological materials at The institute

  - Sending biological materials to external parties outside of The institute

- What metrics used to analyze the performance of the BRM? How often does this analysis occur?

  - Examples can be:

    - identification of matrices appropriate for biorisk management, e.g. data from performance measurements from staff, equipment and training;

    - results of the risk assessment analysis and controls;

    - results of walk-through inspections and audits, both internal and external;

    - reported accidents, injuries and near misses and the actions taken to prevent reoccurrence;

    - quality control, performance results and calibration of the equipment (e.g. safety and security equipment and systems testing);

    - environmental sampling;

    - results of security and emergency response exercises;

    - analysis of documentation and records (e.g. review of biological material inventories);

    - employee surveys;

    - unanticipated events which were not considered during the risk assessment, e.g. failure of equipment previously unknown or events in similar facilities; and

    - response to non-conformances resulting from an inspection or a biorisk management system audit or job hazard assessments.

- What internal audits that are conducted regarding BRM? Does internal audit group audit biosafety/biosecurity/biorisk? What are the repositories for audit documentation?

- Is management review of BRM conducted with Top Management?

  - How often does management review take place?

  - What information is presented during management review?

  - How is the management review documented/recorded?